Original

Evaluation of the physicochemical and bacteriological quality of drinking water sources in rural communities of Cross River State, Nigeria

1Simon Alain Inah, 1Josephine Eneji Egbung, 1Nuria Silvanus Nwachuku, 1Mary Ulumma Udeh, 2Bright Chibunna Ajoku, 1Deborah Busayo Josiah, 1Owan Emmanuel Owan, 1Blessing Tah Bankong, 1Nelson Chukwudi Osuchukwu

1Department of Public Health, Faculty of Allied Medical Sciences, University of Calabar, Calabar, Nigeria.

2Department of Public Health, Gregory University, Uturu, Abia State, Nigeria

Corresponding author: Simon Alain Inah, Department of Public Health, Faculty of Allied Medical Sciences, University of Calabar, Calabar, Nigeria. pharmalain2006@gmail.com:+2348094984005

Article history: Received 04 January 2026, Reviewed 14 February 2026, Accepted for publication 17 March 2026

ABSTRACT

Background: Rural communities in Nigeria and many Sub-Saharan African countries often depend on untreated water sources which are frequently contaminated by industrial effluents and various organic and inorganic pollutants, rendering the water unsafe for consumption. This study assessed the physicochemical and bacteriological quality of drinking water sources in rural communities of southern Nigeria.

Methods: A cross-sectional analytical design with 240 respondents selected via multi-stage sampling. Data were collected electronically using an interviewer-administered semi-structured questionnaire, along with an observational checklist and sample bottles. These were analysed using SPSS Version 23.

Results: Physicochemical analyses showed mean conductivity (118.45 µS/cm), total dissolved solids (TDS) (41.24 mg/L), dissolved oxygen (DO) (25.66 mg/L), and total suspended solids (TSS) (3.69 mg/L) were within WHO and NSDWQ permissible limits; several parameters exceeded standard thresholds. These include turbidity (13.83 FTU), salinity (39.43 PPT), colour (23.12 TCU), iron concentration (4.94 mg/L), and pH (23.22)- indicating potential health hazards and possible measurement error in pH values. Mean temperature was 5.61°C while bacteriological assessment revealed contamination with total coliform and faecal coliform counts exceeding the WHO and NSDWQ standard of 0 CFU/100ml in all tested sources. Among respondents, 117(48.8%) used sachet or bottled water, while 191(79.6%) had access to multiple water sources. Of these, 172(90.1%) cited rainwater as an alternative source.

Conclusion: There are significant quality and safety issues due to bacterial contamination, posing major public health concerns. This study recommends urgent interventions, including water treatment, monitoring and robust source protection to ensure safe drinking water access in these rural communities.

Keywords: Physicochemical, bacteriological quality, drinking water sources, rural communities.

How to cite this article

Inah SA, Egbung JE, Nwachuku NS, Udeh MU, Ajoku BC, Josiah DB, Owan EO, Bankong BT, Osuchukwu NC. Evaluation of the physicochemical and bacteriological quality of drinking water sources in rural communities of Cross River State, Nigeria. The Nigerian Health Journal 2026; 26(1): 253 – 268. https://doi.org/10.71637/tnhj.v26i1.1293

This is an open access journal and articles are distributed under the terms of the Creative Commons Attribution License (Attribution, Non-Commercial, ShareAlike” 4.0) - (CC BY-NC-SA 4.0) that allows others to share the work with an acknowledgement of the work's authorship and initial publication in this journal.

INTRODUCTION

Water is the Earth's most abundant resource, occurring naturally in three forms: groundwater, rainwater, and surface water. Among these, surface water is the most readily available.1 Natural water is a vital resource that is essential for the survival of both animals and plants on Earth.2,3 Water is consumed directly as drinking water or indirectly through its presence in food. It also plays a critical role in various daily activities.4  As a result, access to potable drinking water is vital for health and is recognised as a fundamental human right.1 Safe drinking water is defined as water that poses no significant health risk when consumed over a lifetime, taking into account varying sensitivities that may arise at different stages of life.2,5 However, the rapid pace of industrialisation, urbanisation, and the growing global population has significantly increased the demand for high-quality water. This surge in demand for domestic, recreational, industrial, and other purposes has placed considerable pressure on the availability and quality of this essential resource.4

Ensuring access to potable drinking water in rural communities has consistently been a significant challenge.1,4 According to reports from the World Health Organization (WHO) and United Nations Children’s Fund (UNICEF), Nigeria and several other sub-Saharan African nations are notably behind many developing countries in terms of overall access to potable water and basic sanitation services.6 This is primarily due to the widespread deterioration of public water infrastructures and frequent system failures. These issues often result in a shortage of potable water supply in the region.6 In Nigeria, common sources of drinking water include tube wells, boreholes, and dug wells.5 However, the source of drinking water often varies with the seasons; during the dry season, people are more likely to rely on water supplied by tanker trucks, water vendors, bottled water, or surface water.6 In contrast, during the rainy season, rainwater harvesting becomes a more widely used option for obtaining drinking water.5 The physicochemical properties of water, such as turbidity, colour, taste, and odour, whether naturally occurring or by human activity that can affect how consumers perceive and accept water quality.5

Surface water serves as a natural habitat for various living organisms, some of which play a role in the transmission of infectious diseases like cholera, typhoid, dysentery, guinea worm, hepatitis, giardiasis, and schistosomiasis, among others, when polluted by a range of pathogenic microorganisms, including bacteria, fungi, viruses, protozoa, and other biological agents.3,4 Sources of surface water include lakes, rivers, streams, canals, and ponds.1 These water bodies are highly susceptible to contamination from both human and animal activities, as well as environmental factors such as storms or rainfall.1,7 Many people in rural communities depend solely on untreated water sources like streams and rivers for their daily needs. Due to the lack of access to safe water, they had no alternative but to depend on surface water to accomplish their water requirements, which increases the risk of waterborne disease outbreaks. 4,6

Despite significant financial investments by successive Nigerian governments at both the federal and state levels in the provision of access to potable water, rural communities still experience either limited access or a complete lack of coverage.3 The lack of access to potable water, particularly in rural communities, significantly diminishes the quality of life for residents. Over time, this shortage has played a major role in the high prevalence of communicable diseases, contributing to a substantial proportion of both morbidity and mortality rates in these communities.3 On a global scale, waterborne diseases, particularly diarrhoea, account for over two million deaths annually, with children under the age of five being the most vulnerable.1 This issue is particularly profound in impoverished communities, primarily due to limited awareness of proper hygiene practices across various levels.3,7 Enhancing water supply leads to significant improvements in public health generally.3 The United Nations has established 2030 as the target year for achieving universal access to safe drinking water for all nations and populations, which is a key objective of the Sustainable Development Goal (SDG) 6, one of the 17 SDGs.1

METHODOLOGY

Study design: In order to evaluate the variables of interest and their relationships, this study employed a cross-sectional study design and quantitative methods for data collection, gathering information from the target population at a specific point in time.

Study population: The study population was made up of adults (males and females), 18 years and above, who reside in rural communities of Nigeria, and their drinking water sources.

Sample size determination: The Fisher's formula was used to determine the sample size:

n=z²pqd²

Where;

n = Desired sample size

Z = Confidence level

p = Prevalence rate

q = Proportion of non-occurrence (1-p)

d = margin of error

Therefore:

Z = 95% (1.96)

p = 83.4% = 0.834 (Proportion of 83.4% of those depending on surface water for drinking from a study by [8].

q = 1 – 0.834 = 0.166

d² = 5% = (0.05) ² = 0.0025

n=1.962x 0.834 x 0.1660.0025

n=3.841 x 0.834x 0.1660.0025

n = 212.7

n~ 213

n1 -NRR

Assuming a nonresponsive rate of 10% (0.1)

n=2131-0.10

n=2130.90

= 236.7

The total sample is 237.

For the purpose of this study, 240 respondents were used.

Sampling procedure

Stage 1: Selection of wards: Odukpani has 13 wards, and six were selected through a simple random sampling method. To do this, the names of all 13 wards were written on separate pieces of paper, folded, and placed in a container. The papers were then thoroughly mixed, and six were picked one by one without replacement. This approach ensured that every ward had an equal chance of being selected.

Stage 2: Selection of clusters: From each of the six selected wards, cluster sampling was used to select 30 clusters for the study. By first dividing the entire population into groups.

Stage 3: Selecting the respondents: From each of the selected clusters in each ward, eight respondents (240/30 = 8) were chosen using a simple random sampling technique.

Water sample collection: Water samples from different drinking water sources in chosen communities were gathered using sterile sample bottles, labelled, kept in cooler bags, and delivered within six hours to the Cross River State Water Board Limited, Calabar quality control laboratory for laboratory analysis. Two samples of water were taken from each source.

Samples from surface sources: Water samples from surface sources were taken from the point where the community members fetch their drinking water. At each water source, sample bottles were rinsed twice with the water to be collected. The sample bottles were held at the lower part and submerged to a depth of about 20cm with the mouth facing upward in the direction of the current. The bottle was then capped before being removed from the water and labelled properly with the sources and time of collection stated.

Sampling from a borehole: The tap of the borehole outlet was sterilised with methylated spirit-soaked cotton wool. The tap was flamed with a lighter to ensure complete sterilisation. The tap was opened and allowed to run for 1-2 minutes. The cap of the sterilised sample bottle was carefully unscrewed, and the water was collected 2cm below the mouth. The bottle was then capped, labelled, and placed in a cooler bag.

Sampling from dug-wells: Step 1: Sterilised sample bottles were prepared, and a weight was attached to them with a 20-metre string.

Step 2: A 20m string was rolled around a stick and tied to the bottle strongly.

Step 3: The bottle with a weight was lowered into the well by unwinding the string slowly without touching the sides of the well.

Step 4: The bottle was completely immersed below the surface but was not allowed to touch the bottom of the well or disturb any sediments until it was filled.

Step 5: The bottle was brought up by rewinding the string around the stick. A little water was discarded from the bottle to provide air space.

Step 6: The bottle was recapped, labelled, and placed in a storage container.

Samples were placed in containers containing ice packs to maintain the required temperature of about 40 °C and ensure protection from sunlight. Samples were transferred immediately to the refrigerator on arrival from the field and analysed within 2 hours.

Bacteriological and physicochemical analyses: For this investigation, the following water quality characteristics were analysed: conductivity, turbidity, pH, faecal coliform, total coliform, iron, zinc, manganese, and aluminium. The parameters were chosen in accordance with the minimal requirements for routine monitoring specified by the Nigerian Standard for Drinking Water Quality (NSDWQ). 
Standard techniques and the indicator organism, Escherichia coli, were used to determine the bacteriological analysis (faecal coliform and total coliform count), and standard methods were also used to analyse the physicochemical features of the water samples. With the use of the Atomic Absorption Spectrometer (AAS), chemical characteristics like iron, zinc, aluminium, and manganese were examined.

Determination of the bacteriological quality of water: The media used are nutritional agar for the heterotrophic count, MF-C agar base for the faecal coliform count, and Endo agar for the total coliform count. These were made in accordance with the manufacturer's instructions and autoclave sterilised for 15 minutes at 121°C. Before being inoculated, they were put into 120 mL sterile petri plates and left to chill. Additionally, the stainless-steel filtering units and glassware were sterilised for one hour at 150°C in a hot air oven. 
After shaking the samples to combine them, 100 millilitres were taken and filtered through a membrane filter with a pore size of 0.45 μm. These plates were incubated at 37°C for a whole day. Following the incubation phase, emerging colonies were counted using a colony count method. Counts were noted appropriately.

Determination of the physicochemical properties of water: Physicochemical characteristics of the water samples were analysed using standard methods. The pH, temperature, and turbidity were measured using a pH meter.

Chemical parameters:  Iron, zinc, and manganese were analysed using methods described by the American Public Health Association (APHA) (1998) using the atomic absorption spectrophotometer (AAS). Digestion was done for all the water samples meant for metal analyses. Here, fifteen millilitres (15ml) of concentrated HNO3 will be added to the 50ml of each sample; the mixture was heated slowly to evaporate to a lower volume of 5ml, after which 5ml concentrated HNO3 was again added to the 15ml of the mixture obtained. The mixture was then diluted to 50ml with distilled water. This was heated slowly to obtain a gentle refluxing action.

Further heating continued until digestion is complete (a light-coloured solution).  The sample was transferred to 50ml volumetric flask and diluted to the mark, then allowed to cool for about 30 minutes. The level of the individual metals was then determined using an Atomic Absorption Spectrometer.

Instruments for data collection: The instruments for data collection were a semi-structured interviewer-administered questionnaire and an observational checklist prepared based on the research objectives. Sterilised sample bottles were also used for the collection of water samples.

Methods of data collection: Three well-trained research assistants assisted the researchers in gathering data using an interviewer-administered questionnaire and an observational checklist. The observational checklist and questionnaire, designed in English, featured a mix of structured and open-ended questions. Water samples were collected with sterilized sample bottles from various drinking water sources of selected communities, as stated in 3.4.1.

Methods of data analysis: Once finished, the questionnaire was manually reviewed to verify its completeness. All relevant data were meticulously recorded, cleaned, and analysed using Microsoft Excel. Following this, the data were transferred into the Statistical Product and Service Solutions (SPSS) Version 27 for further analysis. Water samples were analysed at Cross River State Water Board Limited.

Patient involvement statement: Patients were not involved in this study.

RESULTS

Sociodemographic characteristics of respondents: A total of 240 questionnaires were distributed, and all were successfully retrieved, resulting in a 100% response rate. Table 1 presents the sociodemographic characteristics of the study participants. The mean age of the respondents was 35.19 ± 11.635 years. The majority, 82(34.2%), were aged between 18 and 28 years. Most respondents, 145(60.4%), were married or cohabiting. A significant proportion, 229(95.4%), identified as Christians. The highest level of educational attainment for 117(48.8%) respondents was secondary school education. Additionally, 120(50%) respondents reported a household size ranging from 6 to 10 members.

Types of drinking water sources available in the rural communities: Table 2 presents the distribution of drinking water sources available to respondents in rural communities. A significant proportion of respondents, 117(48.8%), reported sachet or bottled water as their primary source of drinking water. Furthermore, the majority, 191(79.6%), indicated access to multiple water sources, with 172(90.1%) of them identifying rainwater as an alternative source.

Table 1 Sociodemographic characteristics of respondents

| Variable | Frequency (n=240) | Percent |
| --- | --- | --- |
| Age (years) | Mean = 35.19, SD = 11.635 |  |
| 18-28 | 82 | 34.2 |
| 29-38 | 79 | 32.9 |
| 39-48 | 39 | 16.3 |
| 49-58 | 31 | 12.9 |
| 59 and above | 9 | 3.8 |
| Marital status |  |  |
| Single | 71 | 29.6 |
| Married/Co-habiting | 145 | 60.4 |
| Divorced/ Separated | 8 | 3.3 |
| Widowed | 16 | 6.7 |
| Religion |  |  |
| Christianity | 229 | 95.4 |
| Islam | 2 | 0.8 |
| Traditional religion | 2 | 0.8 |
| None | 7 | 2.9 |
| Highest level of education completed |  |  |
| No formal education | 24 | 10.0 |
| Primary school | 45 | 18.8 |
| Secondary school | 117 | 48.8 |
| Tertiary (e.g., College of Health, Nursing) | 54 | 22.5 |
| Number of persons in a house |  |  |
| 1-5 | 120 | 50.0 |
| 6-10 | 116 | 48.3 |
| 11 and above | 4 | 1.7 |

Table 2: Types of drinking water sources available in the communities (n=240)

| Variable | Freq | Percent (%) |
| --- | --- | --- |
| Primary source of drinking water |  |  |
| Borehole | 49 | 20.4 |
| Hand-dug well | 29 | 12.1 |
| River/stream | 16 | 6.7 |
| Sachet/bottled water | 117 | 48.8 |
| Public tap/standpipe | 18 | 7.5 |
| Other (please specify) | 11 | 4.6 |
| Access to multiple sources of drinking water |  |  |
| Access | 191 | 79.6 |
| No access | 49 | 20.4 |
| **Alternative source of water |  |  |
| Borehole | 6 | 3.1 |
| Hand-dug well | 26 | 13.6 |
| Rainwater collection | 172 | 90.1 |
| River/stream | 66 | 34.6 |
| Sachet/bottled water | 26 | 13.6 |
| Public tap/standpipe | 13 | 6.8 |

Primary source of drinking water (others) = Spring ** Multiple response allowed, hence percentage not equal to 100%

Physicochemical quality of drinking water sources

Physicochemical quality of drinking water sources is presented in Table 3 and detailed as follows:

Conductivity (µS/cm): The average conductivity was 118.45 µS/cm, which is well within the WHO acceptable range of 400–800 µS/cm and the NSDWQ maximum of 1000 µS/cm. This indicates a low concentration of dissolved ions and minerals, reflecting good water quality in terms of ionic content.

Turbidity (FTU): The mean turbidity level was 13.83 FTU, significantly exceeding both the WHO limit of <5 FTU and the NSDWQ permissible limit of ≤5 FTU. Elevated turbidity suggests the presence of suspended solids, which may harbour pathogenic microorganisms, making the water potentially unsafe for direct consumption without treatment.

Salinity (PPT): With a mean salinity value of 39.43 PPT, the water far exceeds the WHO and NSDWQ safe limit of 0.5 PPT. This high salinity level is unsuitable for drinking purposes and may pose health risks, especially to individuals with hypertension or kidney-related issues.

pH: The reported mean pH value was 23.22, which is far outside the standard acceptable range of 6.5–8.5 specified by both WHO and NSDWQ. This value is unrealistic for natural water systems and likely indicates a measurement or recording error that should be re-evaluated.

Dissolved Oxygen (DO, mg/L): The average DO concentration was 25.66 mg/L, which surpasses the minimum requirement of 5 mg/L set by both WHO and NSDWQ. Although this is favourable for aquatic ecosystems, such high DO levels are uncommon in natural water sources and may warrant further validation.

Temperature (°C): The mean temperature of the water samples was 5.61°C, which is below the recommended maximum of 25°C. This value is within safe limits, suggesting favourable conditions for water storage and microbial control. However, such low temperatures could also point to samples being taken from colder or shaded sources.

Total Dissolved Solids (TDS): The average TDS was 41.24 mg/L, which is well below the WHO recommended limit of 1000 mg/L and the NSDWQ limit of 500 mg/L. This indicates that the water has low levels of dissolved inorganic salts, making it safe for drinking from a TDS perspective.

Colour (True Colour Units): The mean colour intensity was 23.12 TCU, which exceeds the WHO and NSDWQ limits of 15 TCU. This suggests the water may contain dissolved organic matter or metals like iron and manganese, which can affect both the aesthetic and chemical quality of the water.

Iron (mg/L): Iron concentration averaged 4.94 mg/L, significantly higher than the maximum permissible limit of 0.3 mg/L set by both WHO and NSDWQ. Excess iron can lead to staining, unpleasant taste, and potential health effects if consumed over a long period.

Total Suspended Solids (TSS, mg/L): The mean TSS was 3.69 mg/L, which is within the safe limit of <10 mg/L. This indicates relatively low levels of particulate matter in suspension, contributing to acceptable physical clarity when turbidity is not considered.

Bacteriological quality of drinking water: Based on the analysis of the water samples, the Total Coliform Count (TCC) and Faecal Coliform (FEC) levels were found to significantly exceed the World Health Organization (WHO) and Nigerian Standard for Drinking Water Quality (NSDWQ) guidelines, which stipulate that both TCC and FEC should be 0 CFU/100ml for water to be considered microbiologically safe for consumption. The majority of the samples analysed showed high bacterial contamination, with several entries marked as "Too Numerous to Count" (TNTC), indicating gross microbial pollution likely due to faecal contamination or inadequate sanitation practices. These findings clearly indicate that most of the water sources assessed are unsafe for drinking and pose a serious public health risk, necessitating urgent intervention through proper treatment, improved hygiene practices, and regular monitoring (Table 4).

Observational checklist: Findings from the observational checklist revealed several critical concerns regarding the safety and condition of drinking water sources. A total of 77(77.0%) of the drinking water sources were observed to be used for other domestic purposes, such as bathing and washing materials, potentially increasing the risk of contamination. Evidence of human activities like farming or residential presence was seen around 89(89.0%) of the water sources, indicating possible exposure to pollutants. Additionally, 56(56.0%) of the sources had an objectionable odour, while 62(62.0%) were reported to have an unpleasant taste. Physical impurities were also notable, with 52(52.0%) of the sources containing debris or suspended particulate matter. Moreover, 56(56.0%) of the observed waste disposal patterns were considered unsatisfactory, and 42(42.0%) of the excreta disposal patterns failed to meet acceptable standards. Lastly, 51(51.0%) of the water sources were located at distances greater than 1km, posing challenges to water accessibility for nearby residents (Table 5).

DISCUSSION

Types of drinking water sources

The findings from this study revealed that nearly half of the respondents, 117(48.8%), rely on sachet or bottled water as their primary drinking water source. Additionally, a considerable majority, 191(79.6%) reported access to multiple sources of water, with rainwater being a common alternative, 172(90.1%), among those with multiple sources. Reliance on multiple water sources is common in rural and peri-urban areas due to limited access to safe, reliable drinking water. The dependence on rainwater as a supplementary source is likely driven by seasonal availability, cost considerations, and inadequate public water infrastructures. The results of this study align with the results of a study along the Uganda-Kenya border, by [9], that reported that residents used a mix of springs (94.0%), groundwater (57.3%), tap water (53.0%), and streams (28.1%) for drinking. Further supporting this observation was the assessment of water quality in the lower Yellow River basin, which found residents utilised different types of water sources, particularly surface water (rivers and reservoirs) and groundwater (springs and wells). The dependence on rainwater and commercial water (sachet/bottled) underscores the urgency for interventions that address both quality and reliability.

Table 3: Physicochemical quality of drinking water sources

| PARAMETER /UNIT | Drinking water sources | Conductivity (Us/cm) | Turbidity (FTU) | Salinity (PPT) | PH | DO (mg/c) | Temperature (0C) | TDS | Colour | Iron (mgl) | TSS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S1 | Creek Town stream | 110.5 | 1.8 | 54.91 | 6.2 | 11.8 | 22.4 | 66.3 | L5 | 0.33 | 0.016 |
| S2 | Creek Town borehole | 275.8 | 1.6 | 141.5 | 6.3 | 12 | 22.5 | 165.48 | L5 | 0.46 | 0.013 |
| S3 | Creek Town stream | 166.5 | 4.6 | 57.84 | 6.1 | 19.6 | 22.2 | 99.9 | 10 | 0.43 | 0.023 |
| S4 | Creek Town dug well | 39.19 | 46.5 | 19.79 | 6.3 | 18.4 | 22.6 | 23.514 | 10 | 0.32 | 0.022 |
| S5 | Creek Town borehole | 39.44 | 45.9 | 19.21 | 6.5 | 17.5 | 22.4 | 23.664 | 10 | 0.29 | 0.028 |
| S6 | Creek Town dug well | 37.79 | 3.4 | 18.29 | 5.4 | 191.5 | 22.3 | 22.674 | 5 | 0.31 | 0.02 |
| S7 | Creek Town stream | 81.3 | 2.6 | 39.13 | 4.9 | 18.8 | 24.1 | 48.78 | L5 | 0.37 | 0,012 |
| S8 | Creek Town stream | 46.1 | 3.8 | 17.52 | 5.1 | 17.6 | 23 | 27.66 | L5 | 0.51 | 0 |
| S9 | Creek Town stream | 66.3 | 1.9 | 21.3 | 6.3 | 17.6 | 23.3 | 39.78 | L5 | 0.39 | 0.01 |
| S10 | Creek Town borehole | 53.2 | 1.4 | 13.83 | 6.2 | 18 | 24.5 | 31.92 | L5 | 0.44 | 0.008 |
| S11 | Creek Town borehole | 66.5 | 2.3 | 15.01 | 5.8 | 16.5 | 26.3 | 39.9 | L5 | 0.56 | 0.006 |
| S12 | Creek Town stream | 101.1 | 3.8 | 13.6 | 5.6 | 17.3 | 22.6 | 60.66 | 5 | 0.19 | 0.021 |
| S13 | Creek Town stream | 72.3 | 2.6 | 19.4 | 7.01 | 16.6 | 25.1 | 43.38 | L5 | 0.25 | 0.001 |
| S14 | Creek Town dug well | 80.2 | 3.8 | 12.51 | 6.5 | 19.3 | 25.3 | 48.12 | L5 | 0.47 | 0.008 |
| S15 | Creek Town stream | 65.3 | 4.1 | 17.81 | 6.2 | 12.9 | 24.4 | 39.18 | L5 | 0.36 | 0.009 |
| S16 | Creek Town stream | 49.3 | 3.9 | 19.51 | 7.2 | 15 | 23.8 | 29.58 | L5 | 0.42 | 0.031 |
| S17 | Ekori/Anaku stream | 55.6 | 3.8 | 16.22 | 6.8 | 13.8 | 25.3 | 33.36 | 5 | 0.35 | 0.001 |
| S18 | Ekori/Anaku borehole | 72.1 | 4.1 | 18.52 | 5.6 | 16.8 | 24.3 | 43.26 | 10 | 0.48 | 0.028 |
| S19 | Ekori/Anaku dug well | 33.3 | 2.8 | 16.01 | 5.9 | 12.6 | 22.8 | 19.98 | L5 | 0.46 | 0.013 |
| S20 | Ekori/Anaku borehole | 40.1 | 3.1 | 18.11 | 4.3 | 17.8 | 26.3 | 24.06 | L5 | 0.51 | 0.01 |
| S21 | Ekori/Anaku stream | 58.6 | 3.5 | 17.5 | 4.8 | 17.6 | 26.1 | 35.16 | L5 | 0.53 | 0.014 |
| S22 | Ekori/Anaku dug well | 181 | 4.44 | L5 | 41.39 | 108.9 | 0.014 | 18.5 | 23. 6 | 0.39 | 0.33 |
| S23 | Ekori/Anaku stream | 67.3 | 4.13 | L5 | 62.4 | 40.38 | 0.017 | 17.6 | 24.5 | 0.54 | 0.31 |
| S24 | Ekori/Anaku dug well | 67.8 | 3.66 | 5 | 46.8 | 40.68 | 0.01 | 18.8 | 25.1 | 1.06 | 0.43 |
| S25 | Ekori/Anaku borehole | 42.6 | 3.83 | L5 | 42.34 | 25.56 | 0.064 | 17.4 | 26.7 | 0.41 | 0.29 |
| S26 | Ekori/Anaku stream | 138.3 | 3.99 | L5 | 21.37 | 82.98 | 0.019 | 19.3 | 25.6 | 0.48 | 0.56 |
| S27 | Ekori/Anaku stream | 102.2 | 4.08 | L5 | 33.29 | 61.32 | 0.01 | 18.8 | 25. 3 | 0.27 | 0.41 |
| S28 | Ekori/Anaku stream | 41.4 | 3.79 | 5 | 10.96 | 24.84 | 0.058 | 19.4 | 25.6 | 1.23 | 0.48 |
| S29 | Ekori/Anaku dug well | 107.5 | 4.01 | L5 | 34.16 | 64.5 | 0.013 | 7.1 | 23.9 | 0.61 | 0.51 |
| S30 | Ekori/Anaku stream | 136.6 | 5.21 | L5 | 36.1 | 81.96 | 0.018 | 12.8 | 24 | 0.8 | 0.62 |
| S31 | Ekori/Anaku borehole | 63.7 | 4.98 | L5 | 41.18 | 38.22 | 0.018 | 12.6 | 24.1 | 1.26 | 0.48 |
| S32 | Ekori/Anaku stream | 98.1 | 5.66 | 5 | 28.26 | 88.86 | 0.043 | 11.9 | 26.1 | 0.73 | 0.59 |
| S33 | Akamkpa ward borehole | 49.4 | 4.22 | L5 | 31.62 | 29.64 | 0.06 | 16.8 | 26.3 | 1.22 | 0.61 |
| S34 | Akamkpa ward dug well | 71.2 | 5.92 | 5 | 52.14 | 42.72 | 0.055 | 10.9 | 25.4 | 0.7 | 0.55 |
| S35 | Akamkpa ward borehole | 66.4 | 6.11 | L5 | 41.21 | 39.84 | 0.061 | 12.6 | 23.6 | 0.69 | 0.45 |
| S36 | Akamkpa ward dug well | 81.2 | 6.02 | L5 | 56.6 | 48.72 | 0.048 | 13.7 | 23.3 | 0.58 | 0.71 |
| S37 | Akamkpa ward borehole | 76.7 | 6.31 | L5 | 48.12 | 46.02 | 0.044 | 19.1 | 24.4 | 0.73 | 0.59 |
| S38 | Akamkpa ward stream | 78.2 | 5.99 | L5 | 51.31 | 46.92 | 0.063 | 14.3 | 25.6 | 0.55 | 0.38 |
| S39 | Akamkpa ward borehole | 69.3 | 4.31 | L5 | 48.61 | 41.58 | 0.039 | 16.7 | 26. 7 | 0.49 | 0.48 |
| S40 | Akamkpa ward stream | 101.1 | 4.44 | L5 | 71.31 | 60.66 | 0.042 | 18.3 | 25.2 | 0.61 | 0.46 |
| S41 | Akamkpa ward borehole | 84.6 | 4.63 | L5 | 60.11 | 50.76 | 0.057 | 18.5 | 24.8 | 0.71 | 0.47 |
| S42 | Akamkpa ward dug well | 81.1 | 5.57 | L5 | 70.16 | 48.66 | 0.079 | 18.8 | 26.1 | 1.1 | 0.55 |
| S43 | Akamkpa ward stream | 74.5 | 6.1 | 5 | 58.91 | 44.7 | 0.069 | 17.6 | 25 | 1.33 | 0.61 |
| S44 | Akamkpa ward stream | 82.6 | 5.71 | 5 | 56.31 | 49.56 | 0.056 | 14.9 | 24.8 | 0.96 | 0.53 |
| S45 | Akamkpa ward dug well | 80 | 6.1 | 5 | 66.11 | 48 | 0.071 | 19.6 | 25.3 | 1.21 | 0.68 |
| S46 | Akamkpa ward borehole | 96.3 | 23.4 | 39.13 | 5.4 | 16.5 | 0.45 | 3.6 | 57.78 | 10 | 0.033 |
| S47 | Akamkpa ward borehole | 127.8 | 24.1 | 23.8 | 6.2 | 18.3 | 0.55 | 2.3 | 76.68 | 5 | 0.039 |
| S48 | Akamkpa ward dug well | 76.55 | 23.9 | 29.63 | 5.9 | 21.5 | 0.51 | 1.9 | 45.9 | 5 | 0.018 |
| S49 | Eki borehole | 116.3 | 24.6 | 20.77 | 4.8 | 13.6 | 0.63 | 0.8 | 69.78 | L5 | 0.01 |
| S50 | Eki borehole | 65.4 | 25 | 24.63 | 5.5 | 10. 8 | 0.54 | 0.1 | 39.24 | L5 | 0.003 |
| S51 | Eki dug well | 82.5 | 23.3 | 29.22 | 5.1 | 12.6 | 0.5 | 0.1 | 49.5 | L5 | 0.005 |
| S52 | Eki borehole | 60.1 | 22.9 | 31.66 | 6.2 | 11.3 | 0.62 | 0.2 | 36.06 | L5 | 0.008 |
| S53 | Eki borehole | 87.9 | 23 | 37.16 | 5.9 | 10.2 | 0.51 | 0.9 | 52.74 | L5 | 0.014 |
| S54 | Eki dug well | 134.6 | 24.1 | 28.2 | 4.3 | 14.7 | 0.48 | 1.1 | 80.76 | L5 | 0.033 |
| S55 | Eki stream | 142.1 | 25.6 | 40.12 | 4.8 | 16.1 | 0.49 | 2.9 | 85.26 | 10 | 0.083 |
| S56 | Eki dug well | 106.5 | 23.6 | 38.12 | 4.9 | 16.5 | 0.52 | 1.6 | 63.9 | 5 | 0.028 |
| S57 | Eki stream | 76.5 | 23.4 | 28.42 | 5.6 | 15.8 | 0.36 | 0.7 | 45.9 | L5 | 0.009 |
| S58 | Eki stream | 101.9 | 24 | 24.9 | 6.6 | 15.7 | 0.41 | 0.6 | 61.14 | L5 | 0.007 |
| S59 | Eki dug well | 124.4 | 25.1 | 33.21 | 6.3 | 10.6 | 0.38 | 1.5 | 74.64 | 5 | 0.012 |
| S60 | Eki stream | 118 | 24.3 | 38.75 | 5.9 | 13.3 | 0.5 | 1.9 | 70.8 | 5 | 0.016 |
| S61 | Eki stream | 79.9 | 23.6 | 20.41 | 5.6 | 12.8 | 0.33 | 0.6 | 47.94 | L5 | 0.008 |
| S62 | Eki dug well | 69.5 | 23.5 | 21.31 | 4.9 | 14.9 | 0.41 | 0.8 | 41.7 | L5 | 0.008 |
| S63 | Eki stream | 136.6 | 24.1 | 40.14 | 5.3 | 15 | 0.46 | 1.7 | 81.96 | 5 | 0.052 |
| S64 | Eki stream | 126.8 | 23.4 | 37.19 | 5.8 | 16.5 | 0.48 | 1.3 | 76.08 | L5 | 0.019 |
| S65 | Odukpani central stream | 131.3 | 24.4 | 40.33 | 5.6 | 13.7 | 0.31 | 1.6 | 78.78 | 5 | 0.025 |
| S66 | Odukpani central dug well | 126.5 | 26.1 | 36.22 | 6.7 | 15.5 | 0.42 | 1.1 | 75.9 | L5 | 0.039 |
| S67 | Odukpani central dug well | 103.3 | 26.3 | 31.68 | 4.9 | 13.8 | 0.38 | 0.9 | 61.98 | L5 | 0.02 |
| S68 | Odukpani central stream | 118.4 | 25.2 | 36.5 | 5 | 16.2 | 0.39 | 1 | 71.04 | L5 | 0.018 |
| S69 | Odukpani central stream | 148.78 | 23.5 | 39.13 | 6.12 | 20.8 | 1.8 | 89.27 | 5 | 0.011 | 0.67 |
| S70 | Odukpani central stream | 164.9 | 23.8 | 234.8 | 5.14 | 19.6 | 5.1 | 98.94 | 15 | 0.108 | 0.58 |
| S71 | Odukpani central stream | 419.8 | 23.6 | 298.6 | 5.16 | 24.6 | 3.2 | 251.88 | 15 | 0.094 | 1.32 |
| S72 | Odukpani central dug well | 298.9 | 24.1 | 206.7 | 6.43 | 21.5 | 2.7 | 179.34 | 10 | 0.067 | 0.48 |
| S73 | Odukpani central borehole | 281.6 | 23.6 | 203.4 | 5.71 | 19.6 | 2.2 | 168.96 | 5 | 0.049 | 0.35 |
| S74 | Odukpani central borehole | 403.5 | 23.7 | 291.2 | 4.69 | 25.3 | 3.1 | 242.1 | 15 | 0.088 | 1.51 |
| S75 | Odukpani central dug well | 349.8 | 23.5 | 247.4 | 6.11 | 21.3 | 2.6 | 209.88 | 10 | 0.06 | 0.98 |
| S76 | Odukpani central borehole | 89.5 | 23.8 | 64.27 | 6.21 | 14.6 | 0.9 | 53.7 | <5 | 0.012 | 0.32 |
| S77 | Odukpani central borehole | 94.04 | 23.6 | 69.9 | 6.33 | 16.2 | 1 | 56.43 | <5 | 0.005 | 0.48 |
| S78 | Odukpani central borehole | 310.7 | 23.9 | 82.18 | 6.48 | 21.3 | 2.6 | 186.42 | 5 | 0.033 | 0.89 |
| S79 | Odukpani central borehole | 270.4 | 24 | 29.81 | 6.31 | 17.9 | 3 | 162.24 | 10 | 0.078 | 0.78 |
| S80 | Odukpani central dug well | 115.3 | 23.9 | 81.4 | 5.1 | 15.8 | 1.5 | 69.18 | 5 | 0.01 | 0.62 |
| S81 | Odukpani central stream | 88.7 | 24.1 | 29.4 | 5.68 | 12.5 | 0.8 | 53.22 | <5 | 0.024 | 0.27 |
| S82 | Odukpani central borehole | 147.3 | 23.9 | 38.66 | 5.82 | 18.3 | 1.9 | 88.38 | 5 | 0.011 | 0.36 |
| S83 | Adiabor/Efut stream | 187.2 | 24.2 | 32.5 | 6.11 | 27.4 | 1.9 | 112.32 | 5 | 0.013 | 0.53 |
| S84 | Adiabor/Efut stream | 311.6 | 23.6 | 79.4 | 5.68 | 18.6 | 2.8 | 186.96 | 10 | 0.014 | 0.41 |
| S85 | Adiabor/Efut borehole | 148 | 23.9 | 35.61 | 5.88 | 19.9 | 1.3 | 88.8 | 5 | 0.016 | 0.46 |
| S86 | Adiabor/Efut dug well | 216.3 | 24 | 48.7 | 5.05 | 16.8 | 1.2 | 129.78 | <5 | 0.012 | 0.51 |
| S87 | Adiabor/Efut stream | 165.8 | 24 | 30.7 | 6.6 | 15.8 | 1.1 | 99.48 | <5 | 0.012 | 0.39 |
| S88 | Adiabor/Efut dug well | 201.3 | 23.8 | 56.81 | 6.81 | 19.8 | 1.4 | 120.78 | <5 | 0.016 | 0.61 |
| S89 | Adiabor/Efut stream | 143.2 | 23.6 | 39.44 | 6.35 | 14.8 | 1.6 | 88.92 | <5 | 0.018 | 0.46 |
| S90 | Adiabor/Efut borehole | 80.4 | 4.99 | 23.7 | 48.24 | <5 | 0.39 | 0.61 | 0.017 | 39.13 | 171 |
| S91 | Adiabor/Efut borehole | 93.1 | 5.01 | 23.5 | 55.86 | <5 | 0.44 | 0.38 | 0.008 | 27.33 | 19.5 |
| S92 | Adiabor/Efut dug well | 95.1 | 5.37 | 24.1 | 157.06 | <5 | 0.28 | 0.66 | 0.01 | 31.21 | 18.9 |
| S93 | Adiabor/Efut stream | 161.1 | 5.11 | 23.3 | 96.66 | <5 | 0.31 | 1.31 | 0.036 | 36.1 | 18.4 |
| S94 | Adiabor/Efut stream | 132.6 | 4.92 | 24.5 | 79.56 | <5 | 0.5 | 0.72 | 0.041 | 32.16 | 13.38 |
| S95 | Adiabor/Efut dug well | 99.5 | 4.35 | 24.5 | 59.7 | <5 | 0.38 | 0.41 | 0.012 | 22.71 | 14.11 |
| S96 | Adiabor/Efut stream | 106.5 | 4.66 | 23.6 | 63.9 | <5 | 0.47 | 0.66 | 0.015 | 36.1 | 14.91 |
| S97 | Adiabor/Efut borehole | 89.7 | 5.1 | 25 | 53.82 | <5 | 0.33 | 0.34 | 0.007 | 20.63 | 16.34 |
| S98 | Adiabor/Efut stream | 116.1 | 5.23 | 24.8 | 69.66 | <5 | 0.36 | 0.55 | 0.011 | 29.9 | 16.56 |
| S99 | Adiabor/Efut dug well | 131 | 5.62 | 23.1 | 78.6 | <5 | 0.49 | 0.38 | 0.016 | 34.26 | 18.63 |
| S100 | Adiabor/Efut borehole | 121.6 | 5.14 | 23.8 | 72.96 | <5 | 0.43 | 0.37 | 0.01 | 31.47 | 17.81 |
|  | Mean | 118.45. | 13.83 | 39.43 | 23.22 | 25.66 | 5.61 | 41.24 | 23.12 | 4.94 | 3.69 |
|  | SD | 76.85 | 10.84 | 57.48 | 28.02 | 25.83 | 9.52 | 58.12 | 24.8 | 9.63 | 17.72 |
|  | Std Error | 7.68 | 1.08 | 2.80 | 2.59 | 0.95 | 5.81 | 2.52 | 0.96 | 1.78 | 3.97 |
|  | WHO safe limits | ≤ 400 - 800 | <5 | < 0.5 | 6.5 – 8.5 | 5 | < 25°C | < 1000 | < 15 | ≤ 0.3 | < 10 |
|  | NSDW | 1000 | ≤ 5 | ≤ 0.5 | 6.5 – 8.5 | ≥ 5 | < 25 | ≤ 500 | ≤ 15 | ≤ 0.3 | ≤ 10 |

WHO: World Health Organisation

NSDWQ: Nigerian Standard for Drinking Water Quality

Table 4: Bacteriological quality of drinking water

| PARAMETER/UNIT | Drinking water sources | TCC, 100ml/Cfu | FEC/100ml/Cfu |
| --- | --- | --- | --- |
| S1 | Creek Town stream | 61 | 29 |
| S2 | Creek Town borehole | 39 | 20 |
| S3 | Creek Town stream | 101 | 42 |
| S4 | Creek Town dug wel | 98 | 51 |
| S5 | Creek Town borehole | 106 | 70 |
| S6 | Creek Town dug well | 77 | 38 |
| S7 | Creek Town stream | 54 | 21 |
| S8 | Creek Town stream | 80 | 29 |
| S9 | Creek Town stream | 48 | 20 |
| S10 | Creek Town borehole | 53 | 27 |
| S11 | Creek Town borehole | 113 | 46 |
| S12 | Creek Town stream | 104 | 50 |
| S13 | Creek Town stream | 99 | 48 |
| S14 | Creek Town dug well | 106 | 39 |
| S15 | Creek Town stream | 121 | 58 |
| S16 | Creek Town stream | 89 | 36 |
| S17 | Ekori/Anaku stream | 91 | 42 |
| S18 | Ekori/Anaku borehole | 116 | 53 |
| S19 | Ekori/Anaku dug well | 89 | 28 |
| S20 | Ekori/Anaku borehole | 78 | 30 |
| S21 | Ekori/Anaku stream | 94 | 46 |
| S22 | Ekori/Anaku dug well | 57 | 19 |
| S23 | Ekori/Anaku stream | 46 | 22 |
| S24 | Ekori/Anaku dug well | 51 | 27 |
| S25 | Ekori/Anaku borehole | 62 | 31 |
| S26 | Ekori/Anaku stream | 77 | 30 |
| S27 | Ekori/Anaku stream | 51 | 23 |
| S28 | Ekori/Anaku stream | 102 | 40 |
| S29 | Ekori/Anaku dug well | 56 | 27 |
| S30 | Ekori/Anaku stream | 80 | 29 |
| S31 | Ekori/Anaku borehole | 76 | 61 |
| S32 | Ekori/Anaku stream | 51 | 33 |
| S33 | Akamkpa ward borehole | 60 | 29 |
| S34 | Akamkpa ward dug well | 71 | 37 |
| S35 | Akamkpa ward borehole | 62 | 26 |
| S36 | Akamkpa ward dug well | 49 | 19 |
| S37 | Akamkpa ward borehole | 71 | 21 |
| S38 | Akamkpa ward stream | 66 | 29 |
| S39 | Akamkpa ward borehole | 91 | 30 |
| S40 | Akamkpa ward stream | 112 | 57 |
| S41 | Akamkpa ward borehole | 87 | 41 |
| S42 | Akamkpa ward dug well | 131 | 86 |
| S43 | Akamkpa ward stream | 93 | 40 |
| S44 | Akamkpa ward stream | 73 | 29 |
| S45 | Akamkpa ward dug well | 118 | 41 |
| S46 | Akamkpa ward borehole | TNTC | TNTC |
| S47 | Akamkpa ward borehole | 189 | 77 |
| S48 | Akamkpa ward dug well | 125 | 60 |
| S49 | Eki borehole | 54 | 20 |
| S50 | Eki borehole | 39 | 18 |
| S51 | Eki dug well | 48 | 21 |
| S52 | Eki borehole | 37 | 19 |
| S53 | Eki borehole | 60 | 25 |
| S54 | Eki dug well | 85 | 32 |
| S55 | Eki stream | TNTC | TNTC |
| S56 | Eki dug well | 77 | 34 |
| S57 | Eki stream | 53 | 21 |
| S58 | Eki stream | 59 | 24 |
| S59 | Eki dug well | 90 | 41 |
| S60 | Eki stream | 89 | 48 |
| S61 | Eki stream | 48 | 22 |
| S62 | Eki dug well | 49 | 26 |
| S63 | Eki stream | 107 | 36 |
| S64 | Eki stream | 76 | 29 |
| S65 | Odukpani central stream | 102 | 44 |
| S66 | Odukpani central dug well | 73 | 30 |
| S67 | Odukpani central dug well | 56 | 36 |
| S68 | Odukpani central stream | 57 | 20 |
| S69 | Odukpani central stream | 208 | 66 |
| S70 | Odukpani central stream | TNTC | TNTC |
| S71 | Odukpani central stream | 197 | 58 |
| S72 | Odukpani central dug well | 103 | 30 |
| S73 | Odukpani central borehole | 123 | 46 |
| S74 | Odukpani central borehole | TNTC | TNTC |
| S75 | Odukpani central dug well | 118 | 89 |
| S76 | Odukpani central borehole | 44 | 19 |
| S77 | Odukpani central borehole | 39 | 21 |
| S78 | Odukpani central borehole | 100 | 41 |
| S79 | Odukpani central borehole | 155 | 68 |
| S80 | Odukpani central dug well | 187 | 63 |
| S81 | Odukpani central stream | 46 | 22 |
| S82 | Odukpani central borehole | 116 | 72 |
| S83 | Adiabor/Efut stream | 102 | 66 |
| S84 | Adiabor/Efut stream | TNTC | TNTC |
| S85 | Adiabor/Efut borehole | 96 | 40 |
| S86 | Adiabor/Efut dug well | 141 | 51 |
| S87 | Adiabor/Efut stream | 93 | 43 |
| S88 | Adiabor/Efut dug well | 90 | 58 |
| S89 | Adiabor/Efut stream | 121 | 39 |
| S90 | Adiabor/Efut borehole | - | - |
| S91 | Adiabor/Efut borehole | - | - |
| S92 | Adiabor/Efut dug well | - | - |
| S93 | Adiabor/Efut stream | - | - |
| S94 | Adiabor/Efut stream | - | - |
| S95 | Adiabor/Efut dug well | - | - |
| S96 | Adiabor/Efut stream | - | - |
| S97 | Adiabor/Efut borehole | - | - |
| S98 | Adiabor/Efut stream | - | - |
| S99 | Adiabor/Efut dug well | - | - |
| S100 | Adiabor/Efut borehole | - | - |
|  | WHO safe limits | 0 | 0 |
|  | NSDWQ limits | 0 | 0 |

Table 5: Observational checklist

| Variables | Yes | No |
| --- | --- | --- |
| Are water sources used for other purposes, like bathing and washing of materials? | 77(77.0%) | 23(23.0%) |
| Is there evidence of human activities like farming/residence around the drinking source? | 89(89.0%) | 11(11.0%) |
| Does the drinking water source have an objectionable odour? | 56(56.0%) | 44(44.0%) |
| Does the drinking water source have an objectionable taste? | 62(62.0%) | 38(38.0%) |
| Does the drinking water source have colour? | 25(25.0%) | 75(75%) |
| Do the drinking water sources contain debris and suspended particulate matter? | 52(52%) | 48(48%) |
| Is the waste disposal pattern observed satisfactory? | 44(44.0%) | 56(56%) |
| Is the excreta management pattern as observed satisfactory? | 58(58.0%) | 42(42.0%) |
| Observed that the longest distance to the water source is less than 1km | 49(49.0%) | 51(51.0%) |

The physicochemical qualities of drinking water sources

The analysis of the physicochemical parameters of drinking water sources sampled in this study revealed a mixed profile of water quality, with some pointers falling within permissible limits while others exceeded recommended baselines, raising concerns about the safety of these water sources for human consumption. The average electrical conductivity (118.45 µS/cm) was well within both the World Health Organisation (WHO) recommended range (400–800 µS/cm) and the Nigerian Standards for Drinking Water Quality (NSDWQ) limits (1000 µS/cm), suggesting a low concentration of dissolved ions. Similarly, the mean Total Dissolved Solids (TDS) of 41.24 mg/L was far below the permissible baseline of 1000 mg/L (WHO) and 500 mg/L (NSDWQ), indicating minimal presence of inorganic salts. These results imply good ionic composition and salinity levels suitable for drinking. Conversely, several critical parameters exceeded permissible limits. Turbidity averaged 13.83 FTU, significantly higher than the WHO and NSDWQ limits of ≤5 FTU. Elevated turbidity suggests the presence of suspended particles that may shelter pathogenic microorganisms, thus undermining microbiological safety. Additionally, the mean colour intensity (23.12 TCU) surpassed the acceptable limit of 15 TCU, indicating the presence of dissolved organic matter or metals, which not only affect aesthetic quality but may also signal potential contamination. Salinity presented a major concern, with an average value of 39.43 PPT, drastically exceeding the recommended maximum of 0.5 PPT is drastically exceeding the recommended maximum of 0.5 PPT. Such high salinity renders the water unfit for consumption and poses significant health risks, most especially to individuals with pre-existing health conditions like hypertension or kidney disorders. Similarly, iron levels were excessively high (mean = 4.94 mg/L) compared to the permissible limit of 0.3 mg/L. Elevated iron content in water results in an unpleasant taste, staining, and long-term health implications. While the mean Total Suspended Solids (TSS) was within recommended safe limits (3.69 mg/L vs. <10 mg/L threshold), the high Dissolved Oxygen (DO) level of 25.66 mg/L and pH value of 23.22 exceed the range typically observed in natural water sources. Likewise, the mean temperature of 5.61°C, although within safe limits, may reflect sampling from shaded or underground sources rather than surface water. These findings are consistent with 10 in Ethiopia found that found only 38% of rural residents understood acceptable levels for parameters such as pH and turbidity, with education significantly influencing awareness. Similarly, 11 in Pakistan, reported that while 45% of households were familiar with safety limits for contaminants like nitrates and arsenic, only 25% understood their associated health risks. Education and access to information were significant predictors of knowledge. In Kenya, 12 revealed that only 29% of respondents recognized pH and turbidity as critical indicators of water quality. Their mixed-methods approach highlighted the importance of income and participation in educational campaigns as enablers of better understanding. Supporting this, 13 in rural Nigeria found that while 40% of respondents were aware of visible indicators like colour and odour, less than 20% could identify or interpret the acceptable levels for less perceptible contaminants like fluoride and nitrates. Occupation and education were again pivotal in shaping water quality awareness.

Bacteriological quality of drinking water sources.

The results of this study revealed alarmingly high levels of bacteriological contamination in the drinking water sources analysed. Both Total Coliform Count (TCC) and Faecal Coliform (FEC) significantly exceeded the maximum permissible limits established by the World Health Organization (WHO) and the Nigerian Standard for Drinking Water Quality (NSDWQ), which stipulate that water should contain 0 CFU/100 ml of both indicators to be considered bacteriologically safe. Many samples recorded coliform levels classified as “Too Numerous to Count” (TNTC), indicating gross microbial contamination. This suggests a high likelihood of faecal pollution, likely resulting from inadequate sanitation infrastructure, poor hygiene practices, and proximity of water sources to contaminating agents such as open defecation sites, livestock waste, and unprotected latrines. These findings are consistent with studies across sub-Saharan Africa, which highlight the persistent challenge of microbial contamination in rural water sources. 14 in their study of rural villages in the Mohale Basin of Lesotho, they found E. coli in all sampled water sources, with counts ranging from 30 CFU/100 ml in protected sources to an astonishing 43,500,000 CFU/100 ml in unprotected ones. The study found significant associations between high E. coli counts and factors such as the absence of water source protection, nearby open defecation practices, livestock presence, and latrine proximity. This parallels the findings from the present study, where unprotected sources and likely sources of faecal contamination contributed to high bacterial loads. 15 assessed both water sources and household storage containers in Delta State, Nigeria, and similarly reported total coliform counts exceeding WHO standards. E. coli levels ranged from 10.2 CFU/100 ml in boreholes to 44.6 CFU/100 ml in stream sources, with storage containers also showing high levels of contamination. Their grading system placed several water sources in the “unacceptable” and “grossly polluted” categories. Notably, they observed that water quality degraded during storage, and water handling practices played a key role. This highlights the dual threat posed by source contamination and poor post-collection hygiene, both of which are likely at play in the present study area. Further emphasizing the widespread nature of bacteriological contamination, [9] reported that 98.6% of water samples from the Uganda-Kenya border tested positive for TCC, while 72.2% were contaminated with E. coli. Pathogens such as Salmonella spp. and Helicobacter pylori were also frequently detected.

Although water treatment practices were more common in that region (with 74.6% of households reportedly treating their water), contamination levels remained high, suggesting that treatment practices were either inconsistent or ineffective, an issue likely mirrored in the current study context, where treatment practices were not routinely evaluated but may be similarly limited or poorly implemented. In Nigeria, 16 documented high microbial loads in multiple surface water sources in Abia State. Total heterotrophic bacterial counts (THBC) ranged from 1.0 × 10⁵ to 2.0 × 10⁵ CFU/ml, and TCC values reached up to 1100 MPN/100 ml. Isolated organisms included major waterborne pathogens such as Escherichia coli, Salmonella spp., Vibrio cholerae, and Shigella sp., posing serious health threats to consumers. The bacterial diversity observed in that study supports the likelihood that similar pathogenic organisms are present in the water sources assessed in the present research, particularly given the TNTC counts and poor sanitary conditions.

CONCLUSION

This study highlights critical concerns regarding the quality and safety of drinking water sources in rural communities of southern Nigeria. While some physicochemical parameters, such as conductivity, TDS, DO, and TSS were within acceptable limits, others, particularly turbidity, salinity, colour, iron content, and pH deviated significantly from established standards. More alarmingly, bacteriological analysis revealed widespread contamination with both total and faecal coliforms, underscoring a significant risk to public health. Reliance on multiple untreated water sources, such as rainwater and sachet water, exacerbates the risk. Findings call for urgent interventions: water treatment, source protection, improved sanitation, and routine quality monitoring.

Declarations

Author contributions: The study was conceived by authors ISA and JDB, who also participated in every step of data collection, analysis, and result interpretation. Data collection and analysis involved OEO, BBT, NNS, and EJE. The results were analyzed and evaluated by UMU and ISA. The manuscript was prepared by ISA, ABC, and EJE. The research contents were critically reviewed by ISA and NNS. The findings and the completed text were examined by each author.

Funding: No funding was received for this study.

Data availability: In order to assess the physicochemical and bacteriological quality of drinking water sources in rural communities of Cross River State, Nigeria, a questionnaire, an observational checklist, and sterile sample bottles were used to gather the dataset. SPSS Version 27 was then used to enter and analyze the data. Subject to institutional and ethical restrictions, the data can be obtained from the associated author upon reasonable request. This study did not use any secondary data.

Ethics approval: The Ethics and Research Committee of the University of Calabar's Department of Public Health granted ethical permission for the study (Reference: UC/CM/PUH/ETH/2244). Pre-survey visits were carried out in the chosen research locations before data collection. To avoid unwanted access, all information gathered via the observational checklist and questionnaire was handled with the utmost discretion. The study's methods complied with the Helsinki Declaration's ethical guidelines.

Consent to participate: Individual consents from individuals were obtained through informed consent. The study was completely voluntary, and participants could leave at any time without facing any repercussions.

Consent to publish: The publication of this work has been approved by all authors.

Clinical trial number: Not applicable.

Competing interests: No conflicting interests are disclosed by the authors.

REFERENCES

- Bwire, G., Sack, D. A., Kagirita, A., Obala, T., Debes, A. K., Ram, M., Komakech, H., George, C. M., & Orach, C. G. (2020). The quality of drinking and domestic water from the surface water sources (lakes, rivers, irrigation canals and ponds) and springs in cholera prone communities of Uganda: An analysis of vital physicochemical parameters. BMC Public Health, 20, 1-18. https://doi.org/10.1186/s12889-020-09071-5

- Eniola, K., Awe, S., Olawale, K., & Kayode-Isola, T. (2022). Disease risk levels of drinking water sources in some rural communities in Kwara State, Nigeria. Journal of Biochemistry, Microbiology and Biotechnology, 10(2), 10-14.

- Inah, A. S., Mgboji, C. G., Eko, E. J., Kalu, R. E., & Eja, M. E. (2020). Assessment of access to safe drinking water and water quality of rural communities of Akpabuyo local government area of Cross River State, Nigeria. NY Science Journal, 13, 50-58.

- Adesakin, T. A., Oyewale, A. T., Bayero, U., Mohammed, A. N., Aduwo, I. A., Ahmed, P. Z., Abubakar, N. D., & Barje, I. B. (2020). Assessment of bacteriological quality and physico-chemical parameters of domestic water sources in Samaru community, Zaria, Northwest Nigeria. Heliyon, 6(8). https://doi.org/10.1016/j.heliyon.2020.e05074

- Okereke, E. E., Obasi, K. O., Amadi, C. A., Ede, O. A., Aronu, C., Abonyi, I. C., ... & Amadi, A. N. (2022). Physico-Chemical Quality of Drinking Water from Various Sources in Abia State, Nigeria. Journal of Current Biomedical Research, 2(4, July-August), 350-358.

- Olawade, D. B., Wada, O. Z., Afolalu, T. D., Oladipo, T. C., & Asogbon, O. (2020). Assessment of rural water supply in selected communities in Osun State, Nigeria. Int J Environ Sci Nat Res, 26(1), 556177.

- Sitotaw, B., & Geremew, M. (2021). Bacteriological and physicochemical quality of drinking water in Adis Kidame town, Northwest Ethiopia. International journal of microbiology, 2021(1), 6669754.

- Abubakar, I. R. (2019). Factors influencing household access to drinking water in Nigeria. Utilities Policy, 58, 40-51.

- Watti, V. M., Wafula, N., Fungo, R., & Mahungu, S. (2025). Prevalence of waterborne pathogens in drinking water from different sources: A trans‐boundary study in the Nile Basin. World Water Policy. https://doi.org/10.1002/wwp2.12898

- Ayele, T. (2020). Knowledge and awareness of water quality among rural households in Ethiopia. Journal of Environmental Health Research, 30(2), 120–131.

- Berhanu, A., & Hailu, D. (2020). Bacteriological and physicochemical quality of drinking water sources and household water handling practice among rural communities of Bona District, Sidama Zone-Southern, Ethiopia. Science Journal of Public Health, 3(5), 782-789. https://doi.org/10.11648/j.sjph.20200305.27

- Njenga, M., & Otieno, M. (2021). Assessing community knowledge on physiochemical properties of drinking water in rural Kenya. African Journal of Water Science and Technology, 14(1), 45-60.

- Miner, C., Dakhin, A., Zoakah, A., Afolaranmi, T., & Envuladu, E. (2019). Household drinking water; knowledge and practice of purification in a community of Lamingo, Plateau State, Nigeria. J.Environment Research Management, 6, 230-236.

- Gwimbi, P., George, M., & Ramphalile, M. (2019). Bacterial contamination of drinking water sources in rural villages of Mohale Basin, Lesotho: Exposures through neighborhood sanitation and hygiene practices. Environmental Health and Preventive Medicine, 24. https://doi.org/10.1186/s12199-019-0823-3

- Oloruntoba, E. O., & Olannye, D. U. (2019). Drinking water quality and handling practices among women in rural households of Oshimili North Local Government Area of Delta State, Nigeria. Ethiopian Journal of Science and Technology, 12(3), 249-266. https://doi.org/10.4314/ejst.v12i3.6

- Ire, F., Okoro, C., Ahaotu, I., Ire, E., & Maduka, N. (2024). Bacteriological and physicochemical analysis of drinking water sources in some parts of Nneato in Umunneochi local government of Abia State, Nigeria. Scientia Africana, 23(4), 211-222. https://doi.org/10.46436/sa.2024.4.23.992